## ARC to ARCHON
Code | https://github.com/mplesser/azcam-mods
Docs | https://azcam.readthedocs.io/
API | https://azcam.readthedocs.io/autocode/api/
|  | cmd arg1 arg2 … | cmd arg1 arg2 ...
file | function | ARC AzCam command | ARCHON AzCam command
ccdtemp.c | GetTemp() | GetTemp | get_temperatures
| SetTemp() | SetTemperature | set_control_temperature float¦None ID |  | None uses saved value, ID -1 by default
| SetTempCal() | SetTempCal | n/a
exposure.c | ClearArray() | ClearArray | flush numCycles | default 1
| StartExposure() | StartExposure n | expose expTime imgType 'title text' or expose1 expTime imgType titleStr |  | expose1 is immediate return
| SetExposure() | SetExposure msec | set_exposuretime sec | float | get_exposuretime -> float sec
| ReadExposure() | ReadExposure | get_exposuretime_remaining or get_exposuretime? | float sec
| AbortExposure() | AbortExposure | abort
| PauseExposure() | PauseExposure | pause
| ResumeExposure() | ResumeExposure | resume
| SetFormat() | SetFormat … | set_format ns_tot ns_pre ns_under ns_over np_total np_pre np_under np_over np_frame | int | get_format
| SetConfiguration() | SetConfiguration | ?
| SetROI() | SetROI | set_roi sc ec sr er cbin rbin 0, use "set_roi -1 -1 -1 -1 xbin ybin" to just change binning |  | get_roi | roi_reset to reset to full frame
| OpenShutter() | OpenShutter | set_shutter 1 0 |  | 0 = controller default, 1 = instrument default
| CloseShutter() | CloseShutter | set_shutter 0 0
| RowShift() | ParShift nrows | parshift numRows
| GetDetPars() | GetDetPars | get_format |  | see set_format
| GetPixelCount() | GetPixelCount | get_pixels_remaining
| SetShutterMode() | SetMode n m | see expose/expose1
| SetReadoutMode() | SetMode 2 x | see expose/expose1
image.c | SetSocket() | SetSocket n host port
| WriteImage() | WriteImage fmt fname
| SendImage() | SendImage n host port
server.c | CloseConnection() | CloseConnection
| RunScript() | RunScript scriptFile | not sure with the custom azcam server config for mods/archon???
| SetParameter() | SetParameter key "val" "comment" | set_keyword parameter "value" "comment" |  | see also read_header_file() for a static header template (format???)
| GetParameter() | GetParameter key | get_keyword parameter
| ClearParameter() | SetParameter CLEARALL "" ""

## IC Commands
IC commands to AzCam command Mapping
Updated: 2025 July 12
IC | AzCam Server command |  | azcam-mods command |  |  | Raw Archon Command
| set method | get method | set method | get method or alternative | Notes
PARTNER partnerID | set_keyword PARTNER "partnerID" comment "str" | get_keyword PARTNER | mods.set_keyword("PARTNER",partnerID) | mods.get_keyword("PARTNER")
PROPID propID | set_keyword PROPID "propID" comment "str" | get_keyword PROPID | mods.set_keyword("PROPID",propID) | mods.get_keyword("PROPID")
PI_NAME piNames | set_keyword PI_NAME "PI names" comment "str" | get_keyword PI_NAME | mods.set_keyword("PI_NAME",piNames) | mods.get_keyword("PI_NAME")
SUPPORT supportNames | set_keyword SUPPORT "support names" comment "str" | get_keyword SUPPORT | mods.set_keyword("SUPPORT",supNames) | mods.get_keyword("SUPPORT")
TELOPS telopsNames | set_keyword TELOPS "telops names" comment "str" | get_keyword TELOPS | mods.set_keyword("TELOPS",telNames) | mods.get_keyword("TELOPS")
OBSERVER observerNames | set_keyword OBSERVER "observer names" comment "str" | get_keyword OBSERVER | mods.set_keyword("OBSERVER",obsNames) | mods.get_keyword("OBSERVER")
COMMENT | set_keyword COMMENT "comment text" comment "str" | n/a | n/a | n/a
FILENAME filestr | set_filename filestr |  | mods.set_filename(fileStr) | mods.get_filename()
NEXTFILE | get_filename |  | n/a | mods.get_filename() | alias: mods.nextfile()
LASTFILE | n/a |  | n/a | mods.get_lastfile() | alias: mods.lastfile()
PATH | azcam.db.tools["exposure"].folder |  | mods.set_path(dataPath) | mods.get_path()
OBJECT imgTitle | azcam.db.tool["exposure"].set_image_title(imgTitle) | azcam.db.tool["exposure"].get_image_title() | mods.set_imageInfo("object",imgTitle) | mods_get_imageInfo() | overload the azcam data: azcam.db.tools["exposure"].image_types = ['object','bias',…'zero'] in mods.image_types
BIAS imgTitle | azcam.db.tool["exposure"].set_image_type(imgType) | azcam.db.tool["exposure"].get_image_type() | mods.set_imageInfo("bias",imgTitle) | mods_get_imageInfo() | and azcam.db.tools["exposure"].shutter_dict = mods.shutter_dict, which sets shutter 1 (light) or 0 (dark)
DARK imgTitle | … | … | mods.set_imageInfo("dark",imgTitle) | mods_get_imageInfo()
FLAT imgTitle | … | … | mods.set_imageInfo("flat",imgTitle) | mods_get_imageInfo()
COMP imgTitle | ... | … | mods.set_imageInfo("comp",imgTitle) | mods_get_imageInfo()
EXPTIME | set_exposure |  | mods.set_expTime(exptime) | mods.get_expTime()
CCDBIN | set_roi -1 -1 -1 -1 xbin ybin | get_roi | mods.set_ccdbin(xbin,ybin) | mods.get_ccdbin() | see also mods.reset_ccdbin() to reset 1x1 binning, and mods.reset_roi() to restore full-frame, unbinned readout
XBIN | set_roi -1 -1 -1 -1 xbin -1 | get_roi | mods.set_ccdbin(xbin,-1) | mods.get_ccdbin()
YBIN | set_roi -1 -1 -1 -1 -1 ybin | get_roi | mods.set_ccdbin(-1,ybin) | mods.get_ccdbin()
ROI | set_roi sc sr nc nr 1 1 | get_roi | mods.set_roi(sc,ec,sr,er) | mods.get_roi() | restores full-frame, unbinned readout
ROI OFF |  | roi_reset | mods.reset_roi()
GO | expose1 expTime "imgType" "imgTitle" |  | mods.expose(exptime,imgType,imgTitle) | mods.expwait(exptime,imgType,imgTitle) | see azcam-mods/mods.py also azcam/tools/exposure.py
ABORT | abort |  | mods.abort() |  | see also azcam-mods/mods.py and azcam/tools/controller.py readout_abort() for readout abort
PAUSE | pause |  | mods.pause()
RESUME | resume |  | mods.resume()
STOP |  |  |  |  | stop exposure,readout, and save
SHOPEN | set_shutter 1 0 - but not obviously defined for mods! |  | mods.shopen() | n/a | azcam.db .tools["controller"].archon_command("TRIGOUTINVERT 1")
SHCLOSE | set_shutter 0 0 |  | mods.shclose() | n/a | azcam.db .tools["controller"].archon_command("TRIGOUTINVERT 0")
IGPOWER | n/a (internal)
ESTATUS | n/a (internal)
SAVECONFIG | n/a (internal)

## AzCam Flags to EXPSTATUS
AzCam exposure flag translation to IC EXPSTATUS values
Updated: 2025 July 13
AzCam |  |  |  | modsUI
exposure_flag | string | IC EXPSTATUS |  | MODSChannel::exposureStatus
0 | NONE | DONE |  | expDone
1 | EXPOSING | INTEGRATING |  | expIntegrating
2 | ABORT
3 | PAUSE
4 | RESUME
5 | READ
6 | PAUSED | PAUSED |  | expPause
7 | READOUT | READOUT |  | expReadout
8 | SETUP | INITIALIZING | ERASE? | expInit | expErase
9 | WRITING | WRITING |  | expWrite
10 | GUIDEERROR
11 | ERROR

## y4kcam
IC Command | Y4KCam AzCamUtils | Archon AzCam API command | Notes
Reset |  |  | re-initialize AzCam server parameters, upload FITS header database
exptime <sec> | SetExposure() | set_exposure | set/get exposure time in seconds
observer <str> | SetParameter() | set_keyword | set/get observer name for the FITS headers
owner <str> | SetParameter() | set_keyword | set/get data owner ID for the FITS header
filectr <int> | SetParameter() |  | set/get file counter on the FILENAME parameter
filename <str> | SetParameter() | set_filename/get_filename | set/get FILENAME parameter
path <str> |  |  | set/get internal file path for filenames
lastfile |  |  | get last file written to disk
object <str> | SetParameter() |  | set/get OBJECT and IMGTYPE=OBJECT, shutter mode = light
flat <str> | SetParameter() | expose exptime 'flat' 'title' | set/get OBJECT and IMGTYPE=FLAT , shutter mode = light
comp <str> | SetParameter() |  | set/get OBJECT and IMGTYPE=COMP, shutter mode = light
std <str> | SetParameter() |  | set/get OBJECT and IMGTYPE=STD , shutter mode = light
dark <str> | SetParameter() |  | set/get OBJECT and IMGTYPE=DARK, shutter mode = dark
bias <str> | SetParameter() |  | set/get OBJECT, IMGTYPE=BIAS, expTime=0.0; shutter mode = dark
SetExposure()
zero <str> | SetParameter() |  | sets OBJECT, IMGTYPE=ZERO, expTime=0.0, shutter mode = dark
SetExposure()
ccdbin <int> | SetROI() | set_roi, get_roi, roi_reset | set/get CCD on-chip binning factor
ccdtemp <float> | SetTemp() |  | set/get CCD setpoint temperature
shopen | OpenShutter() |  | open CCD shutter, stays open until closed
shclose | CloseShutter() |  | close CCD shutter
shutter <1¦0> | OpenShutter() |  | shutter command
CloseShutter()
status | GetTemp() |  | send status summary as keyword=value pairs, IMPv2 protocol
config |  |  | get agent configuration info
saveconfig |  |  | save agent runtime configuration
ccdinfo | AzCamInfo() |  | get AzCam server camera configuration (engineering dump to stdout)
azcam <str> | ARCCommand() |  | send raw command string to the ARC (aka "Leach") CCD controller - very low level engineering stuff
go <int> | DoExposure() |  | start N exposures, default 1
| DoBias() |  | if IMGTYPE=(BIAS¦ZERO)
focus <…> | DoFocus() |  | focus image sequence
pause | PauseExposure() |  | pause exposure in progress
resume | ResumeExposure() |  | resume a paused exposure
abort | PauseExposure() |  | if exposing, if already paused just AbortExposure()
AbortExposure()
cleanup | CloseShutter() |  | clean up after an ungraceful abort
GetPixelCount()
ClearArray()
GetTemp()
write <str> | WriteCCDImage() |  | write CCD image in buffer
process <str> | ProcessCCDImage() |  | hand off image just written to dataMan for post-processing
ccdinit | InitCCDConfig() |  | (re)initialize the AzCam server CCD controller configuration
clientutils.c functions
UploadScript() | AzCamCommand() |  | upload script of AzCam command to the AzCam server
DoExposure() | GetDetPars() |  | get detector readout parameters
| SetShutterMode() |  | set LIGHT_IMAGE or DARK_IMAGE if a dark
| SetReadoutMode() |  | set IMMEDIATE
| SetExposure() |  | set exposure time
| UploadFITS() |  | send basic header parameters for the image (function also queries TCS)
| ClearArray() |  | erase the CCD
| StartExposure() |  | start the exposure, EXP_NOWAIT, set client cam->State = EXPOSING, unless exptime < 1s, then set cam->State = READOUT
DoBias() | GetDetPars() |  | get detector readout parameters
| SetShutterMode() |  | set DARK_IMAGE
| SetReadoutMode() |  | set IMMEDIATE
| SetExposure() |  | set to 0.0
| UploadFITS() |  | send basic header parameters for the image (function also queries TCS)
| ClearArray() |  | erase the CCD
| StartExposure() |  | start the exposure, EXP_WAIT since 0 sec, then set cam->State = READOUT
DoFocus() | GetDetPars() |  | get detector parameters
| SetShutterMode() |  | set LIGHT_IMAGE
| SetExposure() |  | set exposure time
| SetReadoutMode() |  | set IMMEDIATE if last in sequence, DEFERREDotherwise
| ClearArray() |  | only if first image in sequence
| StartExposure() |  | set EXP_NOWAIT if last in sequence, EXP_WAIT otherwise
| RowShift() |  | shift rows if not last in sequence
PollExposure() | ReadExposure() |  | test if reading out (true/false), if >2s left in exposure, don't poll progress if <2s remaining
| GetPixelCount() |  | if <2s remaining, poll the readout counter GetPixelCount() instead
PollReadout() | GetPixelCount() |  | poll AzCam server for readout status, returns numPixRead, compare with numPixCCD
NotifyClient() |  |  | sent STATUS:/DONE:/WARNING:/ERROR:/CRITICAL: back to IMPv2 client who initiated the exposure
WriteCCDImage() | WriteImage() |  | instruct AzCamServer to write image, time readout, advance file counter
ProcessCCDImage() |  |  | send process <full image name> to dataMan ISIS client
LoadAzCamConfig() |  |  | Open and parse a copy of the AzCam server config file into the client
InitCCDConfig() | RunScript() |  | tell AzCam server to run named cam->IniFile
UploadFITS() | SetParameter() |  | loads FITS info to the AzCam server using SetParameter()
InitObsPars() |  |  | initialize the client internal obs struct with reasonable defaults
CheckTemp() | GetTemp() |  | retrieve and report CCD and Dewar temperatures
AzCamUtils Codes
file | function | AzCamCommand()
ccdtemp.c | GetTemp() | GetTemp | return: ccdTemp dewTemp
| SetTemp() | SetTemperature | args: 2 xx.x. in C
| SetTempCal() | SetTempCal | args: diode detector dewar, int codes for diode type, sensor type on CCD temp, sensor type on Dewar
exposure.c | ClearArray() | ClearArray | erase CCD
| StartExposure() | StartExposure n | n=1 for EXP_WAIT, n=0 for EXP_NOWAIT. If EXP_WAIT set timeout default_to=cam->ExpTime + 10L (sec)
| SetExposure() | SetExposure msec | sets exposure time in integer miiliseconds
| ReadExposure() | ReadExposure | returns elapsed exposure time in milliseconds
| AbortExposure() | AbortExposure | abort exposure in progress
| PauseExposure() | PauseExposure
| ResumeExposure() | ResumeExposure
| SetFormat() | SetFormat … | sets full frame unbinned format with 8 parameters: 4 col, 4 row, see code
| SetConfiguration() | SetConfiguration | 5 parameters: ReadMode, Splits, NumDetX, NumDetY, AmpConfig
| SetROI() | SetROI | 6 parameters: firstCol lastCol firstRow lastRow colBin rowBin
| OpenShutter() | OpenShutter
| CloseShutter() | CloseShutter
| RowShift() | ParShift nrows
| GetDetPars() | GetDetPars | returns number of columns and rows on detector now
| GetPixelCount() | GetPixelCount | return number of pixels readout
| SetShutterMode() | SetMode n m | Dark: 1 0; Light: 1 1; TDI: 1 2 (TDI may not be supported)
| SetReadoutMode() | SetMode 2 x | IMMEDIATE: x=0; DEFERRED x=1
image.c | SetSocket() | SetSocket n host port | set sockets for clients (guider1/2, message 1/2, display, file), host IP and port
| WriteImage() | WriteImage fmt fname | fmt=(1: Std FITS, 2:Binary, 3:MEF), then full filename with path
| SendImage() | SendImage n host port | n = (1:display, 2:file, 3:guider)
server.c | CloseConnection() | CloseConnection | close my connection to the AzCam server
| RunScript() | RunScript scriptFile | run AzCam server script "scriptFile" on the AzCam server
| SetParameter() | SetParameter key "val" "comment" | Set a FITS header keyword on the AzCam server
| GetParameter() | GetParameter key | Gets value of a FITS header keyword set on the AzCam server
| ClearParameter() | SetParameter CLEARALL "" "" | Clears all parameters from the AzCam server's FITS header keyword database
iosubs.c | OpenAzCam() | open and connect to AzCam server
| CloseAzCam() | terminate and close connection | calls CloseConnection() - see server.c, and closes internal file descriptor
| WriteAzCam() | write data to the AzCam server | writes to the TCP socket connected to the AzCam server
| ReadAzCam() | Use select to read data from AzCam
| AzCamCommand() | Send command and wait for reply | called Write/ReadAzCam()
azcamutils.c | InitAzCam() | initializes the client setup | clears the azcam_t struct, sets sensible defaults
| AzCamInfo() | print contents of azcam_t to stdout
| ARCCommand() | send raw command to ARC controller | sends a raw command to the ARC (aka "Leach") controller